About Autoclaving

in Kieppi at Microbiology

Liquids has to be brought in the Room 236A by 10:00 o’clock

- The liquid material has to be at room temperature (exceptions are always negotiable)

- maximum volume of liquids is 80 % of the nominal volume of the bottle.

  - e.g. 800 ml /1l bottle

- maximum size of a bottle is 1000 ml (bigger bottles extend the autoclaving cycle remarkably, even by 1 hour!!)

  - one autoclaving cycle lasts for two hours with 1 l bottles

Labware (plastics, glass etc.) should be brought for autoclaving by 14:00 o’clock,

if you want to have it in use in the following morning

- labware is autoclaved throughout the day

  - one autoclaving cycle takes about 40 min

- if you are in a  hurry with autoclaving, please ask help from the equipment maintenance personnel