Autoclaving

in Aapistie 7, F043A

Liquids has to be brought in the Room F043A by 10:00 o’clock

- The liquid material has to be at room temperature (exceptions are always negotiable)

- Maximum volume of liquids is 80% of the nominal volume of the bottle.

  - e.g. 800 ml /1 l bottle

  - Pure water is the only exception, there you can use 100% fill-up.

- maximum size of a bottle is 2000 ml

  - one autoclaving cycle takes time

      - 2 l bottles 	2.5 – 3 h

      - 1 l bottles 	1.5 – 2 h

Use only hot air tapes to mark the bottles!

Labware (plastics, glass etc.) should be brought for autoclaving by 12:00 o’clock

Please mark the items for sterilization

- If you want to have it in use in the following morning

- Labware is autoclaved throughout the day

  - one autoclaving cycle takes about 1 – 1.5 h

- if you are in a hurry with autoclaving, please ask help from the DWA personnel