Biological waste

Autoclaving

in Aapistie 7, F037

Bring the biowaste bins in the room F037

Waste is autoclaved at room temperature. When you bring frozen waste, write a note: Date and frozen

The common maximum amount of liquid waste is 1 liter/waste bins/canister.

Blood tubes must be delivered in canisters marked: blood tubes.

- Mark the waste bin with label :  WET or DRY

- If the main waste is dry, but if there is recognizable amount of liquid in the bag => WET

- liquefying material eg. agar => WET

- Close the bags with a stapler (be found nearby)

- Waste bags must be brought in a waste bin

  - Clean bins and wastebag can be found in room F037

- Please do not store full bins in your lab, let them cycle.