Lab meeting on June 19, 2018, CRC coffee room

1. Summer arrangements:

In each group, before the regular staff goes on a vacation, it is important to remind and make sure that every researcher working in CRC during the summer period is aware of general practises, such:

careful and clean laboratory practises, office doors should be kept locked if not inside (thefts at university during summer!), general observation of the surroundings, if the carbon dioxide tank is empty, how to check the alarm and order a new bottle, deliveries: parcels should be taken to the right person or to the same research team, and also take care that they stay in right temperature (+ 4C cold room, -20C freezer), notice:  gynecology team (orderer Elina Huikari) is expecting a package from ATCC: this should be immediately reported to Riikka Arffman (tel. No in the coffee room), finally, everyone should know where to find the contact informations of responsible persons and other regular staff

• surgery team takes care of filling up the liquid nitrogen tanks starting from July. Due to holidayS, they need help only during the week 30 (30 Jul – 3 August): Sari, Anniina and Antti (N.) will take care of liquid nitrogen during that time

• If a deep freezer shuts down, contact responsible persons (or other staff for help) and take care of moving the contents to a spare -70C freezer asap. The best way to move safely and as many racks as possible is by using a laundry cart from the basement floor. Emergency freezers can be found in the basement (booking through asimov) and in the underground tunnel: At least one person from each group should pay a visit together with Saija to the location on Thursday 28.6. at 9.15 am.

•If -20 ° C freezer shuts down, there are freezer rooms in Microbiology (2nd floor, opposite to the toilets, inform Virpi Glumoff), and in Biocenter (3rd floor, inform Meeri Otsukka, and 4th floor, inform Pirkko Huhtala) that can be used in an emergency

• it is good to remember to check every now and then the alarms for cold rooms (above the door) to confirm the correct temperature

• arrangements regarding the dish washing during the summer will be informed separately

2. Safety issues:

IMPORTANT NOTE: Scalpels has to be disposed immediately after use to the waste bin (as well as the needles with the cover)! Sharp knives or needles should NOT be left on the table!

• emergency eyewash in each lab should be tested every month, emergency showers should be tested for the first time

• flashlights to the first aid cabinet and to the coffee room

• crc's safety walks are arranged early in the fall

3. Other matters:

• A valve in our liquid nitrogen tank is not working properly and makes a loud noice when releasing  pressure. The valve needs to be replaced asap, however, before that it is important to be careful when operating and handling the liquid nitrogen in the room and to be aware of possible sudden loud noice. For the replacement, the tank must be emptied, which needs to be scheduled at a predetermined time. I’ll inform about the situation when the schedule is refined.

• cell culture: maintenance of pipettes (342B) during summer, sterilization of incubators before / after holidays, cleaning day during the early fall, a new shoe rack to the front room

• the printer connected to the BioRAd gel imager is not working properly, will be replaced