Disposal of agarose gels and buffers containing DNA stains		CRC 12/2017

Gels and buffers containing DNA stains (EtBr, GelRed, SYBR Safe etc.) should be disposed of as described below.

Disposal of agarose gels

1. Dry the gel in a laminar until it is completely dry (1-2 days).

2. Collect dry gels in a plastic bag. Mark the plastic bag (e.g., ”Kiinteä GelRed-jäte, CRC" / "Solid GelRed waste, CRC"). When full, take the plastic bag to room 015A in the basement floor.

Disposal of buffers

1. Collect the buffer solution waste (e.g., in 5-liter plastic containers).

2. Treat the buffer solution with charcoal bags (bags can be found in room 361B, top drawer on the right):

- Place one charcoal bag in the solution and stir overnight (use magnetic stirrer).

- Dispose of the used charcoal bag similarly to agarose gels. Used charcoal bags can be placed in the same plastic bags with the gels.

- Pour decontaminated solution into the drain.